Complete Component’s List

3x LM-317

DigiKey, 497-1575-5 ND, TH, 1.2 to 37V 1.5A, - $0.64

2x Red Binding post

DigiKey: PRT-X, 1pcs - $0.50

2x Black Binding post

DigiKey: PRT-X, 1pcs - $0.50

1x Power Plug with Fuse Socket

DigiKey: Q201-ND, 1pcs - $1.54

3x Slow Blow Fuse 125V 2A

Digikey: 507-1541-ND, 1pcs - $0.21

1x Potentiometer 10k ohm

Digikey: P164K101, 1pcs - $1.14

1x 3300uf 50V cap

DigiKey: UVZ1H332MHD, TH, 3300uf 50V, - $2.07

2x 1.0uf 50V cap

Digikey : C333C105K5R5TA7301 1.0uf 50V, - $0.67

1x 0.1uf 50V cap

DigiKey: C315C104M5U5TA7303 0.1uf 50V, - $0.33

1x 10uf 50V cap

DigiKey: FG20X7S1H106KRT06 10uf 50V, - $1.55

8x 1N4001 protection diodes (4 rect, 2 var prot, 2 fixed prot)

Digikey : SB2100E-G, 1pcs - $0.35

1x Rocker switch AC (on/off)

Digikey: EG5693-ND, 1pcs - $1.30

Second Order

2x LM78L15

Digikey: LM78L15ACZ, 1pcs – $0.69

1x 0.01uF Cap (15V+)

Digikey: C410C103Z5U5TA7200, 1pcs - $0.24

1x 100uF 50V cap (5V+)

Digikey: 107CKR050M, 1pcs - $0.29

2x SPST (30V out)

Digikey : M2011S3A1W03

7x 2PIN Shrouded header & connector 2.54mm pitch

1x 3PIN Shrouded header & connector 2.54mm pitch

1x Digital Voltmeter & Ammeter

Amazon

COST